Fibres Collected off NSW Coast

55.5 µm to 12.4 mm

68% of items measuring less than 1 mm

20% between 1 and 2 mm

12% considered to be macroplastics > 2mm

From CSIRO report:

Malabar

Estimate per day of fibres:

6.1 x 10(10) Entering and 78% Removal = 1.33 x 10 (10) particles

**Thread Length. Amount discharged from Malabar.**



\* AIMS Report <https://www.cleanocean.org/microplastics---testing-the-waters.html>

\*\* CSIRO Report [https://www.epa.nsw.gov.au/-/media/epa/corporate-site/resources/waste/csiro-report-microplastics-in-wastewater.pdf](https://www.epa.nsw.gov.au/-/media/epa/corporate-site/resources/waste/csiro-report-microplastics-in-wastewater.pdf?la=en&hash=6FF9891D9F6BA259B52B40659BE09242335E01E3)





